## Sheet2
Device Name | Asset Tag# | Serial Number | Event# | Move Date | Move Team | Owner/Support | Phone Number | Manufacturer | Device Type | System Model# | Source Location | Source Cabinet | Source Start RU | Source End RU | Source Mount Posistion | Total RMU | Destination Location | Destination Cabinet | Destination Start RU | Destination End RU | Destination Mount Posistion | Current Location | Critical Comments/Notes | Source PS Qty | Destination PS Qty | Source PS1 PDU | Source PS1 Power Type | Source PS1 Power Cord Type | Source PS1 | Dest PS 1 PDU | Dest PS1 Power Type | Dest PS1 Power Cord Type | Destination PS1 | Source PS2 PDU | Source PS2 Power Type | Source PS2 Power Cord Type | Source PS2 | Dest PS2 PDU | Dest PS2 Power Type | Dest PS2 Power Cord Type | Destination PS2 | Source PS3 PDU | Source PS3 Power Type | Source PS3 Power Cord Type | Source PS3 | Dest PS3 PDU | Dest PS3 Power Type | Dest PS3 Power Cord Type | Destination PS3 | Source PS4 PDU | Source PS4 Power Type | Source PS4 Power Cord Type | Source PS4 | Dest PS4 PDU | Dest PS4 Power Type | Dest PS4 Power Cord Type | Destination PS4 | Source IP 1 Add | Source IP 1 Net | Source IP 1 | Dest IP 1 Add | Dest IP 1 Net | Destination IP 1 | Source IP 2 Add | Source IP 2 Net | Source IP 2 | Dest IP 2 Add | Dest IP 2 Net | Destination IP 2 | Source IP 3 Add | Source IP 3 Net | Source IP 3 | Dest IP 3 Add | Dest IP 3 Net | Destination IP 3 | Source IP 4 Add | Source IP 4 Net | Source IP 4 | Dest IP 4 Add | Dest IP 4 Net | Destination IP 4 | Total Copper | Total Fiber | Total TwinAx | has_iLO_Port | Num_Analog | Other Connections | Source Device Port 1 | Source Termination Port 1 | Cable Media 1 | Destination Device Port 1 | Destination Termination Port 1 | Source Device Port 2 | Source Termination Port 2 | Cable Media 2 | Destination Device Port 2 | Destination Termination Port 2 | Source Device Port 3 | Source Termination Port 3 | Cable Media 3 | Destination Device Port 3 | Destination Termination Port 3 | Source Device Port 4 | Source Termination Port 4 | Media | Destination Device Port 4 | Destination Termination Port 4 | Source Device Port 5 | Source Termination Port 5 | Cable Media 5 | Destination Device Port 5 | Destination Termination Port 5 | Source Device Port 6 | Source Termination Port 6 | Cable Media 6 | Destination Device Port 6 | Destination Termination Port 6 | Source Device Port 7 | Source Termination Port 7 | Cable Media 7 | Destination Device Port 7 | Destination Termination Port 7 | Source Device Port 8 | Source Termination Port 8 | Cable Media 8 | Destination Device Port 8 | Destination Termination Port 8 | Source Device Port 9 | Source Termination Port 9 | Cable Media 9 | Destination Device Port 9 | Destination Termination Port 9 | Source Device Port 10 | Source Termination Port 10 | Cable Media 10 | Destination Device Port 10 | Destination Termination Port 10 | Source Device Port 11 | Source Termination Port 11 | Cable Media 11 | Destination Device Port 11 | Destination Termination Port 11 | Source Device Port 12 | Source Termination Port 12 | Cable Media 12 | Destination Device Port 12 | Destination Termination Port 12 | Source Device Port 13 | Source Termination Port 13 | Cable Media 13 | Destination Device Port 13 | Destination Termination Port 13 | Source Device Port 14 | Source Termination Port 14 | Cable Media 14 | Destination Device Port 14 | Destination Termination Port 14 | Source Device Port 15 | Source Termination Port 15 | Cable Media 15 | Destination Device Port 15 | Destination Termination Port 15 | Source Device Port 16 | Source Termination Port 16 | Cable Media 16 | Destination Device Port 16 | Destination Termination Port 16 | Source Device Port 17 | Source Termination Port 17 | Cable Media 17 | Destination Device Port 17 | Destination Termination Port 17 | Source Device Port 18 | Source Termination Port 118 | Cable Media 18 | Destination Device Port 18 | Destination Termination Port 18 | Source Device Port 19 | Source Termination Port 19 | Cable Media 19 | Destination Device Port 19 | Destination Termination Port 19 | Source Device Port 20 | Source Termination Port 20 | Cable Media 20 | Destination Device Port 20 | Destination Device Port 20 | Source Device Port 21 | Source Termination Port 21 | Cable Media 21 | Destination Device Port 21 | Destination Termination Port 21 | Source Device Port 22 | Source Termination Port 22 | Cable Media 22 | Destination Device Port 22 | Destination Termination Port 22 | Source Device Port 23 | Source Termination Port 23 | Cable Media 23 | Destination Device Port 23 | Destination Termination Port 23 | Source Device Port 24 | Source Termination Port 24 | Cable Media 24 | Destination Device Port 24 | Destination Termination Port 24 | is_virtual | resides_on | Application | Priority | Truck # | Environment | OS_Group | OS_Platform | OS_Ver | Patient_Critical | Dual_Network_Access | Needs_ReIP | Recovery Time Objective_(RTO) | Recovery Point Objective _(RPO) | Business Owner | Preferred Downtime Window / Timeframe | is_clustered | Master Physical Inventory raw data import.Backed_Up | Backup_Sched_Start_Time | Backup_Sched_End_Time | Backup_Size_Full | EstimatedValue
Device 1 | Asset Tag 1 | Serial Number 1 | 1 | 2016-01-19 | 1 | Mike |  | IBM | San Storwize | V7000 | Location 1 | Cabinet 1 | 5 | 6 | Front | 2 | Location 2 | Cabinet A | 10 | 11 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | [5 empty] | 2 x SAS 4X | 1-1 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 2 | Asset Tag 2 | Serial Number 2 | 1 | 2016-01-19 | 1 | John |  | IBM | San Storwize | V7000 | Location 1 | Cabinet 2 | 7 | 8 | Front | 2 | Location 2 | Cabinet A | 12 | 13 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | 4 |  |  |  | 4 x SAS4X | Slot 1 - SFP 3 | Eth101/1/39 | Fiber |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 3 | Asset Tag 3 | Serial Number 3 | 1 | 2016-01-19 | 1 | Jim |  | IBM | San Storwize | V7000 | Location 1 | Cabinet 3 | 9 | 10 | Front | 2 | Location 2 | Cabinet A | 14 | 15 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | [5 empty] | 2 x SAS 4X | 1-1 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 4 | Asset Tag 4 | Serial Number 4 | 1 | 2016-01-19 | 1 | Dan |  | NETAPP | Storage | DS14mk4 (ES4H Module) | Location 1 | Cabinet 4 | 11 | 13 | Front | 3 | Location 2 | Cabinet A | 16 | 18 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  | 1 |  |  |  |  | P1 | Eth101/1/39 | Fiber |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 5 | Asset Tag 5 | Serial Number 5 | 1 | 2016-01-19 | 1 | Andrew |  | NETAPP | Storage | FAS2020 | Location 1 | Cabinet 5 | 14 | 15 | Front | 2 | Location 2 | Cabinet A | 19 | 20 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 3 | 2 |  |  |  |  | 0a | Eth101/1/39 | Fiber |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 6 | Asset Tag 6 | Serial Number 6 | 1 | 2016-01-19 | 2 | Mike |  | HP | Server | Proliant DL320e Gen8 | Location 1 | Cabinet 6 | 27 | 27 | Front | 1 | Location 2 | Cabinet A | 22 | 22 | Front | Source |  | 2 | 2 | 1204-PDU-A-Red | 208v | C13/14 | 1204-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1204-PDU-B-Blue | 208v | C13/14 | 1204-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | Eth 1 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 7 | Asset Tag 7 | Serial Number 7 | 1 | 2016-01-19 | 2 | Kevin |  | HP | Server | Proliant DL320e Gen8 | Location 1 | Cabinet 7 | 28 | 28 | Front | 1 | Location 2 | Cabinet B | 23 | 23 | Front | Source |  | 2 | 2 | 1204-PDU-A-Red | 208v | C13/14 | 1204-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1204-PDU-B-Blue | 208v | C13/14 | 1204-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | Eth 1 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 8 | Asset Tag 8 | Serial Number 8 | 1 | 2016-01-19 | 2 | Jim |  | CISCO | Server | UCS C220 M3BE | Location 1 | Cabinet 8 | 30 | 30 | Front | 1 | Location 2 | Cabinet B | 25 | 25 | Front | Source |  | 1 | 1 | 1204-PDU-A-Red | 208v | C13/14 | 1204-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | EthM | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 9 | Asset Tag 9 | Serial Number 9 | 1 | 2016-01-19 | 2 | John |  | CISCO | Server | UCS C220 M3BE | Location 1 | Cabinet 9 | 31 | 31 | Front | 1 | Location 2 | Cabinet B | 26 | 26 | Front | Source |  | 1 | 1 | 1204-PDU-B-Blue | 208v | C13/14 | 1204-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , | [11 empty] | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | EthM | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 10 | Asset Tag 10 | Serial Number 10 | 1 | 2016-01-19 | 2 | Kevin |  | CISCO | Server | UCS 5108 | Location 1 | Cabinet 10 | 5 | 10 | Front | 6 | Location 2 | Cabinet B | 4 | 9 | Front | Source |  | 4 | 4 | 1204-PDU-A-Red | 208v | C19/20 | 1204-PDU-A-Red, 208v, C19/20 | BQ33-PDU-A-Red | 208v | C19/20 | BQ33-PDU-A-Red, 208v, C19/20 | 1204-PDU-A-Red | 208v | C19/20 | 1204-PDU-A-Red, 208v, C19/20 | BQ33-PDU-A-Red | 208v | C19/20 | BQ33-PDU-A-Red, 208v, C19/20 | 1204-PDU-B-Blue | 208v | C19/20 | 1204-PDU-B-Blue, 208v, C19/20 | BQ33-PDU-B-Blue | 208v | C19/20 | BQ33-PDU-B-Blue, 208v, C19/20 | 1204-PDU-B-Blue | 208v | C19/20 | 1204-PDU-B-Blue, 208v, C19/20 | BQ33-PDU-B-Blue | 208v | C19/20 | BQ33-PDU-B-Blue, 208v, C19/20 |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | 8 |  |  |  | IO Module A Eth1 | Eth101/1/39 | TwinAx |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | TwinAx |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39

## Sheet1
Device Name | Asset Tag# | Serial Number | Event# | Move Date | Move Team | Owner/Support | Phone Number | Manufacturer | Device Type | System Model# | Source Location | Source Cabinet | Source Start RU | Source End RU | Source Mount Posistion | Total RMU | Destination Location | Destination Cabinet | Destination Start RU | Destination End RU | Destination Mount Posistion | Current Location | Critical Comments/Notes | Source PS Qty | Destination PS Qty | Source PS1 PDU | Source PS1 Power Type | Source PS1 Power Cord Type | Source PS1 | Dest PS 1 PDU | Dest PS1 Power Type | Dest PS1 Power Cord Type | Destination PS1 | Source PS2 PDU | Source PS2 Power Type | Source PS2 Power Cord Type | Source PS2 | Dest PS2 PDU | Dest PS2 Power Type | Dest PS2 Power Cord Type | Destination PS2 | Source PS3 PDU | Source PS3 Power Type | Source PS3 Power Cord Type | Source PS3 | Dest PS3 PDU | Dest PS3 Power Type | Dest PS3 Power Cord Type | Destination PS3 | Source PS4 PDU | Source PS4 Power Type | Source PS4 Power Cord Type | Source PS4 | Dest PS4 PDU | Dest PS4 Power Type | Dest PS4 Power Cord Type | Destination PS4 | Source IP 1 Add | Source IP 1 Net | Source IP 1 | Dest IP 1 Add | Dest IP 1 Net | Destination IP 1 | Source IP 2 Add | Source IP 2 Net | Source IP 2 | Dest IP 2 Add | Dest IP 2 Net | Destination IP 2 | Source IP 3 Add | Source IP 3 Net | Source IP 3 | Dest IP 3 Add | Dest IP 3 Net | Destination IP 3 | Source IP 4 Add | Source IP 4 Net | Source IP 4 | Dest IP 4 Add | Dest IP 4 Net | Destination IP 4 | Total Copper | Total Fiber | Total TwinAx | has_iLO_Port | Num_Analog | Other Connections | Source Device Port 1 | Source Termination Port 1 | Cable Media 1 | Destination Device Port 1 | Destination Termination Port 1 | Source Device Port 2 | Source Termination Port 2 | Cable Media 2 | Destination Device Port 2 | Destination Termination Port 2 | Source Device Port 3 | Source Termination Port 3 | Cable Media 3 | Destination Device Port 3 | Destination Termination Port 3 | Source Device Port 4 | Source Termination Port 4 | Media | Destination Device Port 4 | Destination Termination Port 4 | Source Device Port 5 | Source Termination Port 5 | Cable Media 5 | Destination Device Port 5 | Destination Termination Port 5 | Source Device Port 6 | Source Termination Port 6 | Cable Media 6 | Destination Device Port 6 | Destination Termination Port 6 | Source Device Port 7 | Source Termination Port 7 | Cable Media 7 | Destination Device Port 7 | Destination Termination Port 7 | Source Device Port 8 | Source Termination Port 8 | Cable Media 8 | Destination Device Port 8 | Destination Termination Port 8 | Source Device Port 9 | Source Termination Port 9 | Cable Media 9 | Destination Device Port 9 | Destination Termination Port 9 | Source Device Port 10 | Source Termination Port 10 | Cable Media 10 | Destination Device Port 10 | Destination Termination Port 10 | Source Device Port 11 | Source Termination Port 11 | Cable Media 11 | Destination Device Port 11 | Destination Termination Port 11 | Source Device Port 12 | Source Termination Port 12 | Cable Media 12 | Destination Device Port 12 | Destination Termination Port 12 | Source Device Port 13 | Source Termination Port 13 | Cable Media 13 | Destination Device Port 13 | Destination Termination Port 13 | Source Device Port 14 | Source Termination Port 14 | Cable Media 14 | Destination Device Port 14 | Destination Termination Port 14 | Source Device Port 15 | Source Termination Port 15 | Cable Media 15 | Destination Device Port 15 | Destination Termination Port 15 | Source Device Port 16 | Source Termination Port 16 | Cable Media 16 | Destination Device Port 16 | Destination Termination Port 16 | Source Device Port 17 | Source Termination Port 17 | Cable Media 17 | Destination Device Port 17 | Destination Termination Port 17 | Source Device Port 18 | Source Termination Port 118 | Cable Media 18 | Destination Device Port 18 | Destination Termination Port 18 | Source Device Port 19 | Source Termination Port 19 | Cable Media 19 | Destination Device Port 19 | Destination Termination Port 19 | Source Device Port 20 | Source Termination Port 20 | Cable Media 20 | Destination Device Port 20 | Destination Device Port 20 | Source Device Port 21 | Source Termination Port 21 | Cable Media 21 | Destination Device Port 21 | Destination Termination Port 21 | Source Device Port 22 | Source Termination Port 22 | Cable Media 22 | Destination Device Port 22 | Destination Termination Port 22 | Source Device Port 23 | Source Termination Port 23 | Cable Media 23 | Destination Device Port 23 | Destination Termination Port 23 | Source Device Port 24 | Source Termination Port 24 | Cable Media 24 | Destination Device Port 24 | Destination Termination Port 24 | is_virtual | resides_on | Application | Priority | Truck # | Environment | OS_Group | OS_Platform | OS_Ver | Patient_Critical | Dual_Network_Access | Needs_ReIP | Recovery Time Objective_(RTO) | Recovery Point Objective _(RPO) | Business Owner | Preferred Downtime Window / Timeframe | is_clustered | Master Physical Inventory raw data import.Backed_Up | Backup_Sched_Start_Time | Backup_Sched_End_Time | Backup_Size_Full | EstimatedValue
Device 1 | Asset Tag 1 | Serial Number 1 | 1 | 2016-03-19 | 1 | Mike |  | IBM | San Storwize | V7000 | Location 1 | Cabinet 1 | 5 | 6 | Front | 2 | Location 2 | Cabinet A | 10 | 11 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | [5 empty] | 2 x SAS 4X | 1-1 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 2 | Asset Tag 2 | Serial Number 2 | 1 | 2016-03-19 | 1 | John |  | IBM | San Storwize | V7000 | Location 1 | Cabinet 2 | 7 | 8 | Front | 2 | Location 2 | Cabinet A | 12 | 13 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | 4 |  |  |  | 4 x SAS4X | Slot 1 - SFP 3 | Eth101/1/39 | Fiber |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 3 | Asset Tag 3 | Serial Number 3 | 1 | 2016-03-19 | 1 | Jim |  | IBM | San Storwize | V7000 | Location 1 | Cabinet 3 | 9 | 10 | Front | 2 | Location 2 | Cabinet A | 14 | 15 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | [5 empty] | 2 x SAS 4X | 1-1 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | SAS 4X |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 4 | Asset Tag 4 | Serial Number 4 | 1 | 2016-03-19 | 1 | Dan |  | NETAPP | Storage | DS14mk4 (ES4H Module) | Location 1 | Cabinet 4 | 11 | 13 | Front | 3 | Location 2 | Cabinet A | 16 | 18 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  | 1 |  |  |  |  | P1 | Eth101/1/39 | Fiber |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 5 | Asset Tag 5 | Serial Number 5 | 1 | 2016-03-19 | 1 | Andrew |  | NETAPP | Storage | FAS2020 | Location 1 | Cabinet 5 | 14 | 15 | Front | 2 | Location 2 | Cabinet A | 19 | 20 | Front | Source |  | 2 | 2 | 1203-PDU-A-Red | 208v | C13/14 | 1203-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1203-PDU-B-Blue | 208v | C13/14 | 1203-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 3 | 2 |  |  |  |  | 0a | Eth101/1/39 | Fiber |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 6 | Asset Tag 6 | Serial Number 6 | 1 | 2016-03-19 | 2 | Mike |  | HP | Server | Proliant DL320e Gen8 | Location 1 | Cabinet 6 | 27 | 27 | Front | 1 | Location 2 | Cabinet A | 22 | 22 | Front | Source |  | 2 | 2 | 1204-PDU-A-Red | 208v | C13/14 | 1204-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1204-PDU-B-Blue | 208v | C13/14 | 1204-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | Eth 1 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 7 | Asset Tag 7 | Serial Number 7 | 1 | 2016-03-19 | 2 | Kevin |  | HP | Server | Proliant DL320e Gen8 | Location 1 | Cabinet 7 | 28 | 28 | Front | 1 | Location 2 | Cabinet B | 23 | 23 | Front | Source |  | 2 | 2 | 1204-PDU-A-Red | 208v | C13/14 | 1204-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 | 1204-PDU-B-Blue | 208v | C13/14 | 1204-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | Eth 1 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 8 | Asset Tag 8 | Serial Number 8 | 1 | 2016-03-19 | 2 | Jim |  | CISCO | Server | UCS C220 M3BE | Location 1 | Cabinet 8 | 30 | 30 | Front | 1 | Location 2 | Cabinet B | 25 | 25 | Front | Source |  | 1 | 1 | 1204-PDU-A-Red | 208v | C13/14 | 1204-PDU-A-Red, 208v, C13/14 | BQ32-PDU-A-Red | 208v | C13/14 | BQ32-PDU-A-Red, 208v, C13/14 |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | EthM | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 9 | Asset Tag 9 | Serial Number 9 | 1 | 2016-03-19 | 2 | John |  | CISCO | Server | UCS C220 M3BE | Location 1 | Cabinet 9 | 31 | 31 | Front | 1 | Location 2 | Cabinet B | 26 | 26 | Front | Source |  | 1 | 1 | 1204-PDU-B-Blue | 208v | C13/14 | 1204-PDU-B-Blue, 208v, C13/14 | BQ32-PDU-B-Blue | 208v | C13/14 | BQ32-PDU-B-Blue, 208v, C13/14 |  |  |  | , , |  |  |  | , , | [11 empty] | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , | 2 | [5 empty] | EthM | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
Device 10 | Asset Tag 10 | Serial Number 10 | 1 | 2016-03-19 | 2 | Kevin |  | CISCO | Server | UCS 5108 | Location 1 | Cabinet 10 | 5 | 10 | Front | 6 | Location 2 | Cabinet B | 4 | 9 | Front | Source |  | 4 | 4 | 1204-PDU-A-Red | 208v | C19/20 | 1204-PDU-A-Red, 208v, C19/20 | BQ33-PDU-A-Red | 208v | C19/20 | BQ33-PDU-A-Red, 208v, C19/20 | 1204-PDU-A-Red | 208v | C19/20 | 1204-PDU-A-Red, 208v, C19/20 | BQ33-PDU-A-Red | 208v | C19/20 | BQ33-PDU-A-Red, 208v, C19/20 | 1204-PDU-B-Blue | 208v | C19/20 | 1204-PDU-B-Blue, 208v, C19/20 | BQ33-PDU-B-Blue | 208v | C19/20 | BQ33-PDU-B-Blue, 208v, C19/20 | 1204-PDU-B-Blue | 208v | C19/20 | 1204-PDU-B-Blue, 208v, C19/20 | BQ33-PDU-B-Blue | 208v | C19/20 | BQ33-PDU-B-Blue, 208v, C19/20 |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | 8 |  |  |  | IO Module A Eth1 | Eth101/1/39 | TwinAx |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | TwinAx |  | Eth101/1/39 | Eth101/1/39 | Eth101/1/39 | Copper |  | Eth101/1/39
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,
[29 empty] | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  |  | , , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | , |  |  | ,